# Appendix 1 of the Purchase Contract - Required Technical Specification of the Subject of Performance

The Subject of Performance delivered by the Seller meets the following requirements:

| Device description: Videoculography device/eye-tracker + MRI-compatible pupillometer | Device trade name: TO BE FILLED IN BY THE SELLER |
| --- | --- |
| Required technical parameters of the device: | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - Monocular / binocular recording | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - Recording without the need of head fixation | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - Feature of precise recording even if correction glasses or ophtalmic lenses are used | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - Recording without disturbing sound or light interference | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - Relative accuracy without head fixation < 0,1° RMS | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - Absolute accuracy without head fixation < 0,5° RMS | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - Distance between the device and the person monitored 50-70 cm | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - EEG synchronizing TTL / analog | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - Sampling rate; >=1000 Hz | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - main computer ( part of the basic set, with technical parameters enabling all features of the VOG device, including in particular the use of warranties and upgrades; free-standing in the laboratory) | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - connection cables between the main computer and camera | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |
| - Graphical programming environment enabling development of tasks for various experiments | The seller shall indicate “yes” or “complied with” to the individual parameters and shall indicate the list of the parameters/performance of their tender: |