Annex No. 1 – Technical specification _Femtosecond laser system

Minimum technical parameters:

Pulse duration: minimum <350 fs, adjustable in the window 350 fs to 5 ps

Central wavelength: 1020-1040 nm

Maximum pulse energy: >200 μJ

Average power: 50 W or higher

Repetition rate: Tunable, software-controlled, minimum range 100 kHz-10 MHz

Beam quality: TEM00, M2<1.3

Stability (pulse-to-pulse): <0.5 % RMS

Long-term power fluctuations (temperature stability +-0.5 °C, constant humidity): <1 % RMS

Beam pointing stability: <25 μrad/°C

Chiller: water to air, closed-cycle

Computer with software for control of the laser system