## požadavky
Specifikace zboží
V případě, že níže uvedené specifikace obsahují odkaz (přímý nebo nepřímý) na konkrétní výrobek (ve smyslu obchodní značky), výrobce, či dodavatele, je tento odkaz uveden s ohledem na přesnost a srozumitelnost. V tomto případě však - není-li uvedeno jinak - dodavatel může nabídnout rovnocenné řešení.
V případě, že zboží je dodáváno v jiném balení než požadovaném, provede uchazeč ocenění tak, aby bylo oceněno požadované množství jednotek (ks, kg, l, ml apod.).
Uchazeč vyplní pouze všechny žlutě podbarvené buňky v tabulce níže, a to pouze pro část, do které podává nabídku.
Část/položka č. | Název položky (specifikace - druh, materiál, barva, určení apod.) | Registrační číslo CAS pro chemické výrobky; pro ostatní položky mohou být zadavatelem uvedeny odkazy na konkrétní zboží, přičemž dodavatel může nabídnout rovnocenné či lepší zboží. | Množství |  |  | Cena bez DPH (Kč)
|  |  | jednotka (kg, l, ks apod.) | balení (= počet jednotek v balení) | požadovaný počet balení | jednotková (za balení) | celková
1 | Spotřební materiál (chirurgický apod.) I.
1 | Plastový port s polyurethanovým katetrem, 1,9 mm (5,8Fr) pr. X 1,0 mm vnitřní pr., 6Fr zavaděč, délka 76cm. Obsah soupravy: port, katetr, konektor, Porth-A-Cath rovná jehla, jehla s tupým koncem, Vein Pick, GRIPPER jehla, 90° zahnutá jehla, tenkostěnná zaváděcí jehla, dilatátor/sheat, “J“ zaváděcí drát, 2x stříkačka, tunelizační pomůcka | ASQA 21-4153-24 | ks | 1 | 80 |  | 0
[5 empty] | 0 |  | 0
celkem | [6 empty] | 0
2 | Spotřební materiál (chirurgický apod.) II.
1 | BPX-80 Adult Bio-Pump® Plus Centrifugal Pump 3/8" inlet/outlet, 80 mL priming volume | Promedica Praha Group 95201 | ks | 4 | 5 |  | 0
2 | DP38 Adult Bio-Probe® Flow Probe, 3/8” | Promedica Praha Group 95244 | ks | 12 | 1 |  | 0
3 | DP38P Pediatric Bio-Probe Flow Probe, ¼” | Promedica Praha Group 25134 | ks | 12 | 3 |  | 0
[5 empty] | 0 |  | 0
celkem | [6 empty] | 0
3 | Spotřební materiál (chirurgický apod.) III.
1 | Lapač bublin Capiox Terumo BT05 | Cardion CX-BT05 | ks | 10 | 3 |  | 0
2 | Centrifugální hlava k MDT biokonzole | Cardion CX-SP45 | ks | 1 | 20 |  | 0
[5 empty] | 0 |  | 0
celkem | [6 empty] | 0
4 | Laboratorní pumpy a příslušenství
1 | Adaptér centrifugální hlavy k MDT (CX-SPO3) | Cardion CX-SPO3 | ks | 1 | 2 |  | 0
[5 empty] | 0 |  | 0
celkem | [6 empty] | 0
5 | Nástroje, nářadí, stojany apod.
1 | Tissue Forceps, 16,0 cm/6¼“, 1:2 | MiVaMed HB 303 | ks | 1 | 10 |  | 0
2 | Tissue Forceps, 18,0 cm/7“, 1:2 | MiVaMed HB 304 | ks | 1 | 10 |  | 0
3 | Tissue Forceps narrow, 16,0 cm/6¼“, 1:2 | MiVaMed HB 333 | ks | 1 | 10 |  | 0
4 | Tissue Forceps narrow, 20,0 cm/8“, 1:2 | MiVaMed HB 335 | ks | 1 | 10 |  | 0
5 | Vessel Forceps De Bakey, straight, 16,0 cm/6¼“, 1,5 mm | MiVaMed HB 420-16 | ks | 1 | 10 |  | 0
6 | Vessel Forceps De Bakey, straight, 20,0 cm/8“, 1,5 mm | MiVaMed HB 420-20 | ks | 1 | 10 |  | 0
7 | Vessel Forceps De Bakey, straight, 24,0 cm/91⁄2“, 1,5 mm | MiVaMed HB 420-24 | ks | 1 | 10 |  | 0
8 | Vessel Forceps De Bakey, straight, 30,0 cm/12“, 1,5 mm | MiVaMed HB 420-30 | ks | 1 | 2 |  | 0
9 | Vessel Forceps De Bakey, straight, 15,0 cm/6“, 1,1 mm, very delicate | MiVaMed HB 420-11 | ks | 1 | 10 |  | 0
10 | Vessel Forceps De Bakey, straight, 20,0 cm/8“, 1,1 mm, very delicate | MiVaMed HB 420-12 | ks | 1 | 10 |  | 0
11 | Vessel Forceps De Bakey, straight, 25,0 cm/10“, 1,1 mm, very delicate | MiVaMed HB 420-13 | ks | 1 | 10 |  | 0
12 | Halsted-Mosquito, straight, 12,5 cm/5“ | MiVaMed HB 510 | ks | 1 | 10 |  | 0
13 | Halsted-Mosquito, curved, 12,5 cm/5“ | MiVaMed HB 515 | ks | 1 | 20 |  | 0
14 | Halsted-Mosquito, curved, micro, 12,5 cm/5“ | MiVaMed HB 519 | ks | 1 | 10 |  | 0
15 | Pean hemostatic forceps, straight, 14,0 cm/51⁄2“ | MiVaMed HB 538 | ks | 1 | 10 |  | 0
16 | Pean hemostatic forceps, curved, 14,0 cm/51⁄2“ | MiVaMed HB 540 | ks | 1 | 10 |  | 0
17 | Rochester-pean, straight, 18,0 cm/7“ | MiVaMed HB 543 | ks | 1 | 10 |  | 0
18 | Rochester-pean, curverd, 18,0 cm/7“ | MiVaMed HB 553 | ks | 1 | 10 |  | 0
19 | Rochester-pean, curverd, 24,0 cm/91⁄2“ | MiVaMed HB 556 | ks | 1 | 10 |  | 0
20 | Kelly hemostatic forceps, straight, 14,5 cm/53⁄4“ | MiVaMed HB 601 | ks | 1 | 10 |  | 0
21 | Crile-Rankin hemostatic forceps straight, 16,0 cm/6¼“ | MiVaMed HB 609 | ks | 1 | 10 |  | 0
22 | Crafoord hemostatic forceps curved, 24,0 cm/91⁄2“ | MiVaMed HB 662 | ks | 1 | 6 |  | 0
23 | Maier Dressing Forceps straight, 25,0 cm/10“ | MiVaMed HB 856 | ks | 1 | 10 |  | 0
24 | Tissue Forceps narrow, 14,5 cm/53⁄4“, 1:2 | MiVaMed HB 332 | ks | 1 | 10 |  | 0
25 | Skalpell-griffe, No. 4 | MiVaMed HB 1095 | ks | 1 | 10 |  | 0
26 | Operating Scissors Standard, straight, 14,5 cm/53⁄4“ | MiVaMed HB 1714 | ks | 1 | 10 |  | 0
27 | Operating Scissors Standard, curved, 14,5 cm/53⁄4“ | MiVaMed HB 1744 | ks | 1 | 10 |  | 0
28 | Dissecting Scissors, curved, 17,0 cm/63⁄4 | MiVaMed HB 1798 | ks | 1 | 10 |  | 0
29 | Tönnis-Adson Super scissor with tungsten carbide edges, 18,0 cm/7“ | MiVaMed HB 2288-SC | ks | 1 | 5 |  | 0
30 | Matzenbaum Scissors, 14,5 cm/53⁄4“ | MiVaMed HB 2284 | ks | 1 | 5 |  | 0
31 | Matzenbaum Scissors, 18,0 cm/7“ | MiVaMed HB 2286 | ks | 1 | 5 |  | 0
32 | Matzenbaum Scissors, 23,0 cm/9“ | MiVaMed HB 2287 | ks | 1 | 5 |  | 0
33 | Jehelec Mayo-Hegar, 20,0 cm/8“ | MiVaMed HB 2202 | ks | 1 | 5 |  | 0
34 | Jehelec Mathieu, 20,0 cm/8“ | MiVaMed HB 2224 | ks | 1 | 10 |  | 0
35 | Jehelník | MiVaMed HB 9092 | ks | 1 | 5 |  | 0
36 | Disektor Overholt, 23,0 cm/9“ | MiVaMed HB 650-06 | ks | 1 | 2 |  | 0
37 | Disektor Overholt, 21,5 cm/81⁄2“ | MiVaMed HB 650-05 | ks | 1 | 2 |  | 0
38 | Disektor Overholt, 21,0 cm/8¼“ | MiVaMed HB 650-01 | ks | 1 | 2 |  | 0
39 | Vena Cava Clamps De Bakey-Beck, 19,5 cm/73⁄4“ | MiVaMed HB 3965-01 | ks | 1 | 1 |  | 0
40 | Clamps De Bakey-Satinsky, 23,0 cm/9“ | MiVaMed HB 3968-01 | ks | 1 | 1 |  | 0
41 | Clamps Derra, 17,0 cm//63⁄4" | MiVaMed HB 3945-03 | ks | 1 | 1 |  | 0
42 | Anastomosis Clamps Cooley, 20,0 cm/8“ | MiVaMed HB 4008-01 | ks | 1 | 1 |  | 0
43 | Clamps De Bakey, 16,5 cm/61⁄2“, 50mm | MiVaMed HB 3969-03 | ks | 1 | 1 |  | 0
44 | Clamps De Bakey, 21,0 cm/8¼“, 51 mm | MiVaMed HB 3973-01 | ks | 1 | 1 |  | 0
45 | Peripheral-Vascular Clamps Leland Jones, 19,0cm//71⁄2“, 30° curved | MiVaMed HB 3976-01 | ks | 1 | 1 |  | 0
46 | Anastomosis Clamps, 20,0 cm/8“, Leitz | MiVaMed HB 4007-01 | ks | 1 | 1 |  | 0
47 | Dissecting Clamps, 19,0 cm/71⁄2“, 77 mm | MiVaMed HB 3959-01 | ks | 1 | 1 |  | 0
48 | Pediatric Clamps Cooley, 20,0 cm/8“ | MiVaMed HB 3947-01 | ks | 1 | 1 |  | 0
49 | Sterilizační kontejner vana neperforovaná 1/1, 580x280x260 cm | MiVaMed HE 3110-26 | ks | 1 | 2 |  | 0
50 | Víko sterilizačního kontejneru 1/1, filtr 2x, 580x280mm, zlatá | MiVaMed HE 3310G0 | ks | 1 | 2 |  | 0
51 | Sterilizační koš stohovatelný, 510x240x100mm | MiVaMed HE 2113-10 | ks | 1 | 2 |  | 0
52 | Sterilizační kontejner vana neperforovaná 1/2, 285x280x160 | MiVaMed HE 3130-16 | ks | 1 | 2 |  | 0
53 | Víko sterilizačního kontejneru 1/2, 285x280mm, 1x filtr, zlatá | MiVaMed HE 3330G0 | ks | 1 | 2 |  | 0
54 | Sterilizační koš stohovatelný, 240x240x70mm | MiVaMed HE 2130-70 | ks | 1 | 2 |  | 0
55 | Permanent filter for 1/1 and ½ containers | MiVaMed HE 3010-06 PTFE | ks | 1 | 6 |  | 0
56 | Pocket Slide Caliper, of stainless steel 14,0 cm/51⁄2“ | MiVaMed HB 61 | ks | 1 | 1 |  | 0
57 | Metal Rule graduate in millimeters and inches, 30,0 cm/12“ | MiVaMed HB 68 | ks | 1 | 2 |  | 0
58 | Kocher 14,0 cm /51⁄2“ | MiVaMed HB 566 | ks | 1 | 10 |  | 0
59 | Needle Holder De Bakey, 20,0cm/8“ | MiVaMed HB 2217D | ks | 1 | 5 |  | 0
60 | Needle Holder De Bakey, 23,0cm/9“ | MiVaMed HB 2218D | ks | 1 | 5 |  | 0
61 | Mock kannula, 6 cm | MiVaMed HB 2675-06 | ks | 1 | 2 |  | 0
62 | Liver Transplantation Clamp Klintmann, large, 25 cm/10" | MiVaMed HB 4049-03 | ks | 1 | 1 |  | 0
63 | Peripheral-Vascular Clamps, 18,0cm/7“, 60° curved | MiVaMed HB 3975-01 | ks | 1 | 1 |  | 0
64 | Aorta Clamps De Bakey 25cm/10", 111 mm | MiVaMed HB 3984-02 | ks | 1 | 1 |  | 0
65 | Silikonová podložka pro sterilizační koš, velikost 440x230mm | MiVaMed HE 3010-00 | ks | 1 | 2 |  | 0
66 | Silikonová podložka pro sterilizační koš, velikost 245x245 mm | MiVaMed HE 3030-00 | ks | 1 | 2 |  | 0
[5 empty] | 0 |  | 0
celkem | [6 empty] | 0
Podpis osoby oprávněné jednat jménem či za dodavatele: |  | ............................................................................................................................